| Page | Standard | Revision |
| --- | --- | --- |
| 1302.20 | MP-2 | CHANGE LUMINAIRE CALLOUT FROM “TRUSS TYPE LUMINAIRE ARM” TO “LUMINAIRE ARM” |
| 1302.24 | MP-3 | CHANGE LUMINAIRE CALLOUT FROM “TRUSS TYPE LUMINAIRE ARM” TO “LUMINAIRE ARM”. CHANGED DIMENSION FROM TOP OF POLE TO CENTER OF ARM FROM 12” TO 12” MIN. |
| 1302.27 | MP-3 | CHANGE “CASE X LOADING” CALLOUT TO “LOADING CASE X” |
| 1302.50 | AB-1 | REVISED NOTE 4 |
| 1302.60 | VS-1 | REVISED NOTE 6 |
| 1310.20 | LF-1 | REVISED NOTE 8 |
| 1311.10 | LP-1,2 | CHANGED “BRACKET ARM LENGTH” TO “LUMINAIRE ARM LENGTH”. SHOW BOTH LP-1 AND LP-2 STRUCTURES ON TRANSFORMER BASES; CLARIFY IN NOTES THAT STRUCTURES SHALL BE ON EITHER BREAKAWAY OR NON-BREAKAWAY TRANSFORMER BASES; REVISIONS TO NOTES REGARDING TRANSFORMER BASE INSTALLATION. DELETED NOTE REGARDING WIRE SUPPORT J-HOOKS FOR HAND HOLES MORE THAN 4 FEET UP THE STRUCTURE. |
| 1317.10 | JB-R1,R2 | CLARIFICATION REGARDING NUMBER OF PLACEMENT OF REQUIRED J-HOOKS; MINOR DRAFTING IMPROVEMENTS; REVISED REQUIREMENTS FOR PLACEMENT OF AGGREGATE UNDERNEATH THE JUNCTION BOX AND COMPACTED EARTH ON SIDES OF JUNCTION BOX; CONDUIT ENTRANCE DEPTH REVISED TO READ 18”-24” INSTEAD OF 18”; DELETION OF NOTES THAT ARE DUPLICATES OF REQUIREMENTS IN THE SPECIFICATIONS. |
| 1317.11 | JB-R1,R2 | MINOR REVISIONS TO NOTES |
| 1317.20 | JB-S1, S2, S3, S4 | ADDITION OF 48” X 48” JB-S4 STANDARD; DELETION OF REQUIREMENT THAT JB’S BE ONE- OR TWO-PIECE IN DESIGN; CLARIFICATION OF AGGREGATE AND COMPACTED SOIL PLACEMENT UNDERNEATH AND AROUND BOX; REVISION TO NOTE REGARDING ACCEPTABLE METHODS OF LABELING BOXES; CLARIFICATION REGARDING NUMBER OF PLACEMENT OF REQUIRED J-HOOKS; CONDUIT ENTRANCE DEPTH REVISED TO READ 18”-24” INSTEAD OF 18”; CORRECTED ERROR IN PREVIOUS STANDARD REGARDING LABELING OF DIMENSIONS “A” AND “B” |
| 1317.21 | JB-S4 | NEW SHEET WITH DETAILS FOR 48” X 48” JB-S4 JUNCTION BOX |
| 1320.10 | WSP-1 | WSP-1 STANDARDS EXPANDED TO 7 SHEETS |
| 1320.11 | WSP-1 | WSP-1 STANDARDS EXPANDED TO 7 SHEETS |
| 1320.12 | WSP-1 | WSP-1 STANDARDS EXPANDED TO 7 SHEETS |
| 1320.13 | WSP-1 | SOME DETAILS MOVED TO SHEET 5 |
| 1320.14 | WSP-1 | SQUARE TUBE POST DESIGN TABLE MOVED TO SHEET 6. SHEET 5 NOW ENCOMPASSES DETAILS FOR SIGN PANEL ATTACHMENTS TO POSTS, INCLUDING NEW ALTERNATE ATTACHMENT DETAILS AND NEW DETAILS FOR MOUNTING OF BACK-TO-BACK SIGNS. |
| 1320.15 | WSP-1 | SQUARE TUBE POST DESIGN TABLE MOVED FROM SHEET 5. |
| 1320.16 | WSP-1 | NEW SHEET WITH SPLICE AND CORNER BOLT DETAILS PREVIOUSLY INCLUDED ON SHEET 6. ORIENTATION OF CORNER BOLTS CHANGED SO THAT ALL CORNER BOLT HEADS ARE ON LEFT SIDE. |
| 1321.10 | STP-1 | SINGLE POST MEDIAN INSTALLATION DETAIL MOVED FROM SHEET 12; ADDED NOTES 9 AND 10. |
| 1321.17 | STP-1 | CORRECTED CALLOUT FOR DRIVE TUBE FOUNDATION MATERIALS TO REQUIRE 3/16”, NOT 1”, STEEL PLATE. |
| 1321.19 | STP-1 | SOME DETAILS MOVED TO SHEET 12 OF 12 |
| 1321.20 | STP-1 | INCREASED ALLOWABLE MAXIMUM WIDTH OF SIGN ON A SINGLE POST FROM 5 FEET TO 6 FEET |
| 1321.21 | STP-1 | DETAILS REGARDING SIGN MOUNTING HEIGHT/PLACEMENT FOR INTERCHANGE OFF-RAMPS MOVED TO NEW STANDARD ISD-1. SIGN BRACING DETAILS MOVED FROM SHEET 10 TO SHEET 12. NEW DETAILS WITH ALTERNATE SIGN PANEL MOUNTING DETAILS, AND NEW DETAILS SHOWING HOW TO ATTACH BACK-TO-BACK SIGN PANELS ON THE SAME POST. |
| 1329.10 | ISD-1 | NEW STANDARD SHOWING SPECIAL SIGN PLACEMENT AND MOUNTING HEIGHT REQUIREMENTS FOR CERTAIN SIGNS ON INTERCHANGE OFF-RAMPS. |