# ROADWAY LIGHTING DESIGN QUESTIONNAIRE

The intention of this questionnaire is to determine Roadway Lighting design preferences. The information provided will be used to develop lighting plans for your agency.

Date: 		Return By:

Project Name:

Project No:

UPC No:

Advertisement Date:

Plan Design Contact Information:

Name:

Phone No.:

E-Mail Address:

Roadway Lighting Preferences:

- Luminaires wattage & type? (VDOT recommends high pressure sodium type)

- VDOT lighting standard? Type LP-1 ____, LP-2 ____, or LP- 3 ____

- Type of lighting standard:

- Poles & foundations? (breakaway supports)

- Direct buried poles? (type - wood, aluminum, fiberglass, etc.)

- Any special pole or luminaire preferences? (color, style, etc.)

- Any propriety lighting equipment required?

- Location of lighting standards:

- Outside edge of roadway? (behind sidewalk, utility strip)

- Median? (not recommended by VDOT)

- Use of Local Power Company poles?

- Mounting height of luminaire? (min. or max. restrictions)

- Location of luminaires in relation to roadway? (e.g.; along curb or over edge of pavement)

- Type pole arrangement:

- Staggered?

- Opposite?

- Same side of roadway? (Not preferred)

- Median? (Not preferred)

- Luminaire arm length? (min. or max. restrictions)

- Wiring system:

- Conduit & junction boxes?

- Direct buried?

- Installed by Local Power Company?

- Conduit: (if applicable)

- Size?

- Type? (Specs provide contractor the choice of Metal, PVC or Fiberglass)

- Installation? (In accordance with VDOT Standard ECI-1)

- Junction box sizes & type? (VDOT prefers: JB-R1, R2, S1 or S2)

- Junction box spacing? (VDOT recommends 250’ spacing)

- Electrical service type? SE-7 ____, SE-8 ____, SE-9 ____, and Type A ____, or Type B ____

- Classification of Roadway and Nighttime Pedestrian Conflict according to IESNA, RP-8 (See Table below and circle selected values)

| ROADWAY ILLUMINATION LEVELS |  |  |  |
| --- | --- | --- | --- |
| Roadway and Nighttime Pedestrian Conflict Classification |  | Minimum Maintained Average Values | Uniformity Ratio |
| Road | Pedestrian Conflict Area | FC | Average/Minimum |
| Freeway Class A |  | 0.9 | 3.0 |
| Freeway Class B |  | 0.6 | 3.0 |
| Expressway | High | 1.4 | 3.0 |
|  | Medium | 1.2 | 3.0 |
|  | Low | 0.9 | 3.0 |
| Major | High | 1.7 | 3.0 |
|  | Medium | 1.3 | 3.0 |
|  | Low | 0.9 | 3.0 |
| Collector | High | 1.2 | 4.0 |
|  | Medium | 0.9 | 4.0 |
|  | Low | 0.6 | 4.0 |
| Local | High | 0.9 | 6.0 |
|  | Medium | 0.7 | 6.0 |
|  | Low | 0.4 | 6.0 |
| This Table is abridged from IESNA, RP-8, Table 2 - Illumination Method - Recommended Values |  |  |  |

- Combination Signal / Luminaire poles? (yes or no - if applicable)

- Classification of Intersection and Nighttime Pedestrian Conflict according to IESNA, RP-8 (See Table below and circle selected values)

| INTERSECTION ILLUMINATION LEVELS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Roadway Functional Classification | Minimum Maintained Average Illumination Values by Pedestrian Area Classification (FC) |  |  | Uniformity Ratio | Intersection Name |
|  | High | Medium | Low | Average/Minimum |  |
| Major/Major | 3.4 | 2.6 | 1.8 | 3 |  |
| Major/Collector | 2.9 | 2.2 | 1.5 | 3 |  |
| Major/Local | 2.6 | 2 | 1.3 | 3 |  |
| Collector/Collector | 2.4 | 1.8 | 1.2 | 4 |  |
| Collector/Local | 2.1 | 1.6 | 1 | 4 |  |
| Local/Local | 1.8 | 1.4 | 0.8 | 6 |  |
| This Table is abridged from IESNA, RP-8, Table 9 - Recommended Illumination for the Intersection of Continuously Lighted Urban Streets |  |  |  |  |  |

- If the local power company is installing lighting poles after completion of the project, what is the minimal amount of R/W or easements desired for the installation of these items.

- If lighting poles are installed under a separate contract, provide the required foundation bolt circle size.

- Is under bridge lighting desired? (Bridge number/location)

- Are above ground receptacles required? (Normally used for parking lots, weigh stations, inspection stations, etc.)

Adjacent Community:

- Urban, Suburban, Rural, Business, Residential?

- Near-by airports or heliports? (Name & approximately how close)

- Are there places along the roadway (known at this time) where lighting poles should be avoided or glare shields used because of houses or businesses?

- Requirement for bridge or air navigation lightings?

- What will be the posted speed limit on the road to be lighted?

Existing Lighting and Electrical Systems:

- Available power source:

- 240/120-volt single-phase?

- 480/277-volt three-phase?

- Is there a preference?

- Are any major power distribution lines in close proximity of the proposed Lighting Project?

- Name and phone number of Local Power Company Representative? (if known)

- Is there a minimum spacing required between utility poles?

- Existing lighting conditions: (if available)

- Existing plans?

- Existing luminaires mounting height?

- Existing luminaires wattage, type, arm lengths?

- Pole type and locations?

- Power source? (120/240-volt or 480/277-volt)

- Is lighting installed on local power company poles?

- Other issues to be considered in the Lighting Plan:

Contact Name:

Telephone No.:

Email Address:

Signature:								Date: